# REQUEST FOR PROPOSALS (RFP)

# RESIDENTIAL STRUCTURE DEMOLITION SERVICES

# April 2, 2026

# REQUEST FOR PROPOSALS (RFP)

Demolition Services – FEMA Hazard Mitigation Grant Program Home Buyouts
City of Rock Valley, Iowa
Issue Date: April 2, 2026

## 1. Project Background

The City of Rock Valley, Iowa experienced significant flooding in 2024 which resulted in damage to numerous residential properties. As part of the City’s disaster recovery and hazard mitigation efforts, certain structures have been acquired and are scheduled for demolition.

The specific properties are 1224 16th Street, 1711 Main Street, 1801 Main Street, 1815 Main Street and 2471 300th Street all in Rock Valley, Iowa

Prior to demolition, asbestos-containing materials will be properly abated by a licensed asbestos abatement contractor in accordance with applicable federal and state regulations.

Following completion of asbestos abatement activities, the City will issue a Notice to Proceed to the selected demolition contractor.

## 2. Scope of Services

The selected contractor shall provide all labor, equipment, materials, and supervision necessary to complete demolition and site restoration.

Work shall include, but is not limited to:

- Demolition and complete removal of all residential structures.

- Removal of all structural components, including foundations and basement walls.

- Foundation walls shall be cut to a minimum of two (2) feet below finished grade.

- Foundation floors shall be punctured to allow for proper drainage.

- Removal of all basement concrete floors and related materials.

- Filling of all excavations with clean fill material provided by the contractor from an off-site source. No on-site soil disturbance or reuse of existing soils will be permitted.

- Grading of each site to match surrounding conditions.

- Removal and proper disposal of all demolition debris.

- All demolition debris must be processed and shredded prior to disposal at an approved landfill.

- The contractor may utilize a designated City-owned property for temporary staging, sorting, and shredding of materials.

- Expose, sever, and securely plug/cap the existing water service line at the municipal curb stop.

- Seal the sanitary sewer lateral with an approved watertight plug at the property line.

- All utility disconnection work must conform to State of Iowa standards and be inspected by the City prior to backfilling.

The contractor shall:

- Maintain a safe work site and comply with all OSHA requirements

- Coordinate scheduling with the City

- Prevent debris migration and control dust

- Transport and dispose of materials in accordance with all applicable regulations

- Restore each site to a safe and level condition

## 3. Project Timeline

Upon receipt of a Notice to Proceed, the contractor shall complete demolition and site restoration for each property within ninety (90) days.

## 4. Qualifications

Respondents must demonstrate:

- Experience performing residential demolition projects

- Availability of appropriate equipment and personnel

- Ability to safely complete work in accordance with all applicable regulations

- Ability to meet required project timelines

## 5. Proposal Requirements

Proposals shall include:

- Firm name, address, and contact information

- Description of relevant demolition experience

- Identification of key personnel and equipment

- Proposed fee structure, including:

  - Bid price for each individual property

  - Total not-to-exceed bid price for all properties combined

- Identification of any anticipated salvage value and corresponding cost reductions per property (if applicable)

- Estimated timeline for completion of demolition activities

- Description of debris processing and disposal methods

## 6. Proposal Submission

Proposals must be submitted no later than:

April 29, 2026 at 5:00 PM

Proposals may be submitted by mail or email to:

City of Rock Valley
Attn: Tom Van Maanen, City Administrator
1303 10th Street
PO Box 100
Rock Valley, Iowa 51247
Email: tomvm@cityofrockvalley.com
Phone: (712) 470-1200

## 7. Selection Criteria

Proposals will be evaluated based on:

- Qualifications and experience

- Ability to meet project timeline

- Cost of services (including per-property pricing and total cost)

- Equipment and capacity to perform the work

The City reserves the right to reject any or all proposals and to waive irregularities in the proposal process.

## 8. Equal Opportunity

The City of Rock Valley is an Equal Opportunity Employer and encourages participation from qualified minority- and women-owned businesses.

## 9. Federal Funding Requirements

This project is being funded in part through federal disaster recovery funds associated with FEMA and the U.S. Department of Housing and Urban Development (HUD). Contractors must comply with all applicable federal regulations.

To the extent applicable, the selected contractor shall comply with:

- Davis-Bacon and Related Acts (DBRA)

- Contract Work Hours and Safety Standards Act (CWHSSA)

- Copeland “Anti-Kickback” Act

- Section 3 of the Housing and Urban Development Act of 1968

- Executive Order 11246 – Equal Employment Opportunity

- 2 CFR Part 200 – Uniform Administrative Requirements for Federal Awards

If Davis-Bacon wage requirements apply, the contractor shall pay workers not less than the prevailing wage rates determined by the U.S. Department of Labor.

## 10. Federal Contract Provisions

Because this project is funded in part through federal funds provided by FEMA and HUD, the selected contractor must comply with the federal requirements set forth in 2 CFR Part 200 Appendix II – Contract Provisions for Non-Federal Entity Contracts Under Federal Awards.

Termination for Cause and Convenience
The City reserves the right to terminate the contract in accordance with federal procurement standards.

Debarment and Suspension
The contractor must not be debarred or suspended and must verify eligibility through SAM.gov.

Access to Records
The contractor shall provide access to all project-related records for audit purposes. Records must be retained for a minimum of three (3) years after project completion.

Compliance With Laws
The contractor must comply with all applicable federal, state, and local laws and regulations.

# CITY OF ROCK VALLEY, IOWA

## RESIDENTIAL DEMOLITION PROJECT – BID FORM

Bidder Information
Company Name: _______________________________
Address: ____________________________________
City, State, Zip: ______________________________
Phone: _____________________________________
Email: _____________________________________
Contact Person: ______________________________

### Bid Pricing (Per Property)

| Property Address | Base Cost | Salvage Deduction | Net Cost |
| --- | --- | --- | --- |
| 1224 16th Street | ________ | ________ | ________ |
| 1711 Main Street | ________ | ________ | ________ |
| 1801 Main Street | ________ | ________ | ________ |
| 1815 Main Street | ________ | ________ | ________ |
| 2471 300th Street | ________ | ________ | ________ |

### Total Not-to-Exceed Project Cost:

$________________________

### Pricing shall include:

- Full structure demolition

- Foundation removal (cut 2 feet below grade)

- Foundation floor puncturing

- Off-site clean fill import and placement

- No on-site soil disturbance

- Debris shredding and disposal

- Utility disconnections and capping

- All labor, equipment, hauling, and disposal

The contractor agrees to complete each property within ninety (90) days after Notice to Proceed.

Authorized Signature
Name: _____________________________________
Title: ______________________________________
Signature: __________________________________
Date: ______________________________________

# UNIT PRICE SHEET

Contractor Name: _____________________________

Unit prices may be used if additional properties are added. Pricing shall reflect full compliance with all specifications, including foundation removal, off-site fill requirements, and no on-site soil disturbance.

| Item | Unit Price |
| --- | --- |
| Structure Demolition (per structure) | $__________ |
| Foundation & Basement Removal | $__________ |
| Basement Fill & Grading | $__________ |
| Debris Hauling | $__________ |
| Debris Shredding / Processing | $__________ |
| Disposal Fees | $__________ |
| Utility Cap (Water/Sewer) | $__________ |
| Mobilization | $__________ |
| Other (describe): __________ | $__________ |

Total Estimated Cost Per Structure: $________________

Authorized Signature: _________________________
Date: ______________________________________

- Shredding of demolition debris prior to landfill disposal

- Transportation of debris to a designated staging area or landfill

- Filling basement excavation with suitable fill material

- Grading the site to match surrounding grade

- All labor, fuel, equipment, transportation, and disposal costs

The contractor acknowledges that demolition for each property must be completed within ninety (90) days after receiving Notice to Proceed from the City of Rock Valley.

Authorized Signature

Name: _____________________________________

Title: ______________________________________

Signature: __________________________________

Date: ______________________________________

- Expose, sever, and securely plug/cap the existing water service line at the municipal curb stop and seal the sanitary sewer lateral line with an approved, watertight plug at the property line. All work must conform to the State of Iowa standards and be inspected by the City prior to backfilling.